## NERC TIERs
Tier 1:
Construction complete (not in commercial operation)
Under construction
Signed/approved interconnection service agreement
Signed/approved PPA
Signed/approved Interconnection Construction Service Agreement (CSA)
Signed/approved Wholesale Market Participant Agreement (WMPA)
Included in an IRP or under regulatory environment that mandates a resource adequacy requirement (VERTICALLY INTEGRATED UTILITY)
Tier 2:
Signed/approved completion of Feasibility Study
Signed/approved completion of system impact study
Signed/approved completion of facilities study
Requested interconnection service agreement
Included in an IRP or under regulatory environment that mandates a resource adequacy requirement (RTO/ISOs)
Tier 3:
Does not meet tier 2

## AESO
Status
Cluster | Accepted system access service request, currently in cluster assessment phase
Active | Acceped system access service request, currently in independent assessment phase/execution phase. Some energizations may be in service
ISD under review | Re-evaluating in-service date of system access service request
On hold | Activity has ceased except for 6-month check ins
Recently energized | Energized within past 3 months
Recently cancelled | Cancelled within 3 months
Stage
Assessment Phase (Independent assessment, < 5 MW) (Cluster assessment, > 5 MW) | 0 | Application
| 1 | Scope
| 2 | Assessment
Execution Phase (Connection process) | 3 | Regulatory preparation
| 4 | AUC applications
| 5 | Construction
| 6 | Close out
Types
BTF
Connection
Contract
STS = Supply Transmission Service
DTS = Demand Transmission Service
Modelled: | Included in base case for connection assessment studies
Inclusion: | Included for system planning and long term adequacy

## Projects
Province | Project Name | CODERS Name | Location | Latitude | Longitude | Project Type | Model | Capacity | Year | Status | TIER Justification | Last Modified | Notes | Source
AB | P1828 hep Energy Alderson MPC Solar |  | 04-Medicine Hat | 50.3571 | -111.3559 | Connection | Solar | 100 | 2026 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2034 Cold Lake Energy (Lindbergh Cogeneration) |  | 28-Cold Lake | 54.0391 | -110.6183 | Connection | Cogen | 72 | 2029 | Tier 1 | Stage 5 | 2026-01-26 | 68 MW added, 20 MW for oil sands operations | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2091 Arenosum Solar |  | 48-Empress | 50.6896 | -110.0522 | Connection | Solar | 150 | 2028 | Tier 1 | Stage 4 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2192 ENMAX FMC Change |  | 06-Calgary | 51.0652 | -114.1334 | BTF | Cogen | 5 | 2026 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2195 FortisAlberta Bassano 435S DER Solar |  | 47-Brooks | 50.6746 | -112.3123 | BTF | Solar | 5 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2259 FortisAlberta Metiskow 648S DER Solar |  | 37-Provost | 52.4071 | -110.497 | BTF | Solar | 22 | Under Review | Tier 1 | Stage 5 | 2026-01-26 | 100 MW battery? | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2292 FortisAlberta Killarney Lake 267S DER Solar |  | 37-Provost | 52.6185 | -110.2654 | BTF | Solar | 18 | 2026 | Tier 1 | Stage 5 | 2026-01-26 | 100 MW battery? | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2334 TCE Saddlebrook Solar Storage |  | 46-High River | 50.6546 | -113.8715 | Connection | Battery Storage | 7 | 2027 | Tier 1 | Stage 5 | 2026-01-26 | 40MWh flow battery (8hrs) | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2337 Dunmore Solar | Dunmore | 04-Medicine Hat | 50.0332 | -110.4803 | Connection | Solar | 216 | 2028 | Tier 1 | Stage 5 | 2026-07-09 | CODERS says 2025, project timeline got extended | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2354 ENMAX FMC DER Cogen |  | 06-Calgary |  |  | BTF | Cogen | 0 | Under Review |  | Stage 5 | 2026-01-26 | P2192 ENMAX FMC Change duplicated, DON’T INCLUDE | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2356 Oyen Wind |  | 42-Hanna | 51.311 | -110.4914 | Connection | Wind | 250 | 2027 | Tier 1 | Stage 5 | 2026-01-26 | Phase 1 | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2369 ATCO Anderson 801S DER Solar |  | 43-Sheerness | 51.5166 | -111.6678 | BTF | Solar | 12 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2378 RESC Nova MPC Solar |  | 45-Strathmore/Blackie | 50.8473 | -113.5383 | Connection | Solar | 150 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2396 Georgetown Solar |  | 45-Strathmore/Blackie | 50.7393 | -113.4177 | Connection | Solar | 230 | 2026 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2411 Northland Power Jurassic MPC Solar Battery |  | 48-Empress | 50.7304 | -111.3443 | Connection | Solar | 220 | 2028 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2411 Northland Power Jurassic MPC Solar Battery |  | 48-Empress | 50.7304 | -111.3443 | Connection | Battery Storage | 80 | 2026 | Completed | Completed | 2026-01-26 | 160MWh (2hr) | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2418 Greencells Estuary Solar |  | 48-Empress | 50.7032 | -110.0268 | Connection | Solar | 200 | 2028 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2445 Homestead MPC Solar |  | 53-Fort Macleod | 49.9893 | -113.4367 | Connection | Solar | 400 | 2027 | Tier 1 | Stage 5 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2446 Fortis Tilley 498S DER Solar | Tilley |  | 50.5338 | -111.67 | BTF | Solar | 19.6 | 2025 |  | #N/A | 2026-01-26 | CODERS match | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2451 Georgetown Battery Addition |  | 45-Strathmore/Blackie | 50.7393 | -113.4177 | BTF | Battery Storage | 1 | 2027 | Tier 1 | Stage 5 | 2026-01-26 | 100 MW battery? | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2453 EDTI Edmonton 3 H2 Plant Cogen |  | 60-Edmonton | 53.5917 | -113.2983 | Connection | Cogen | 20 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2454 Flipi MPC Gas |  | 30-Drayton Valley | 52.6207 | -114.5335 | Connection | Gas CC | 466 | 2029 | Tier 1 | Stage 4 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2456 Opal Gas |  | 24-Fox Creek | 54.4395 | -117.0155 | Connection | Gas | 99 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2457 Fortis Moon Lake DER Solar |  | 30-Drayton Valley | 53.4243 | -114.9858 | BTF | Solar | 17 | 2026 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2461 Aira Solar |  | 04-Medicine Hat | 49.5969 | -110.9477 | Connection | Solar | 450 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2462 Fortis Stony Plain 434S DER Solar |  | 40-Wabamun | 53.5157 | -113.9111 | BTF | Solar | 12 | 2026 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2464 Sunnynook Solar Battery |  | 43-Sheerness | 51.3279 | -111.5632 | Connection | Solar | 280 | 2029 | Tier 1 | Stage 5 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2464 Sunnynook Solar Battery |  | 43-Sheerness | 51.3279 | -111.5632 | Connection | Battery Storage | 100 | 2029 | Tier 1 | Stage 5 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2465 Enerfin Winnifred Wind + Solar Modification |  | 04-Medicine Hat | 55.3003 | -119.1796 | BTF | Solar | 60 | 2026 | Tier 1 | Stage 5 | 2026-07-09 | Additional 60 MW of solar in existing wind location | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2467 Pteragen Peace Butte Wind |  | 04-Medicine Hat | 49.812 | -110.7382 | Connection | Wind | 120 | 2028 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2471 Fortis Buford 538S DER Solar |  | 31-Wetaskiwin | 53.2363 | -113.9385 | BTF | Solar | 12.9 | 2026 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2524 Shell SR Scotford Solar |  | 33-Fort Saskatchewan | 53.8128 | -113.0785 | BTF | Solar | 58 | 2028 | Tier 1 | Stage 5 | 2026-01-26 | Capacity already built, 2028 is connection to grid | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2537 Fortis Duchess 339S DER Solar |  | Duchess | 50.7282 | -111.9167 | BTF | Solar | 19.8 | 2025 | Completed | Completed | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2553 Dolcy MPC Solar and Storage |  | 37-Provost | 52.5669 | -110.581 | Connection | Solar | 300 | 2029 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2553 Dolcy MPC Solar and Storage |  | 37-Provost | 52.5669 | -110.581 | Connection | Battery Storage | 100 | 2029 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2627 Sundre 575S DER Solar |  | 38-Caroline | 52.0945 | -114.7563 | BTF | Solar | 13 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2658 Rimbey 297S DER Gas |  |  | 52.7575 | -114.1077 | BTF | Gas | 15.5 | 2026 | Completed | Completed | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2676 Kaybob South 3 Cogen |  |  | 54.0972 | -116.6189 | Connection | Cogen | 25 | 2026 | Completed | Completed | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2678 SS-37 DER Gas |  | 06-Calgary | 51.0505 | -114.0131 | BTF | Gas | 1.1 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2722 Sturgeon 734S DER Solar |  | 23-Valleyview |  |  | BTF | Solar | 24 | 2027 | Tier 2 | Stage 3 | 2026-01-26 | Stage 3, included in AESO long term planning | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2729 Coaldale 254S DER Solar & Wind |  | 54-Lethbridge |  |  | BTF | Wind | 12 | 2028 | Tier 2 | Stage 3 | 2026-01-26 | Stage 3, included in AESO long term planning | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2747 Vegreville 709S DER Battery |  | 56-Vegreville | 53.4927 | -112.0442 | BTF | Battery Storage | 10 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2751 Hussar 431S Battery |  | 45-Strathmore/Blackie |  |  | BTF | Battery Storage | 20 | 2027 | Tier 2 | Stage 3 | 2026-01-26 | Stage 3, included in AESO long term planning | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2753 Jarrow 252S DER Solar Battery |  | 32-Wainwright |  |  | BTF | Solar + Storage | 6 | 2027 | Tier 2 | Stage 3 | 2026-01-26 | Stage 3, included in AESO long term planning | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2754 Tucuman 478S DER Solar Battery |  | 32-Wainwright |  |  | BTF | Solar + Storage | 15 | 2027 | Tier 2 | Stage 3 | 2026-01-26 | Stage 3, included in AESO long term planning | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2757 Sturgeon 734S DER Battery |  | 23-Valleyview |  |  | BTF | Battery Storage | 22 | 2028 | Tier 2 | Stage 3 | 2026-01-26 | Stage 3, included in AESO long term planning | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2792 Cascade Gas Expansion |  |  | 53.5255 | -116.5982 | BTF | Gas | 32 | 2025 | Completed | Completed | 2026-07-09 | Not in CODERS | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2805 High River 65S DER Gas |  | 46-High River | 50.5764 | -113.8704 | BTF | Gas | 16 | 2026 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2827 Vilna 777S DER Solar |  | 56-Vegreville | 54.1226 | -111.9602 | BTF | Solar | 27 | 2029 | Tier 1 | Stage 5 | 2026-01-26 | 23 MW storage? | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2829 Coronation 773S DER Solar |  | 42-Hanna | 52.0542 | -111.4396 | BTF | Solar | 17 | 2027 | Tier 1 | Stage 5 | 2026-01-26 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
NB | Kci-Wocawson |  | Near Springdale NB, east of Lindys | 45.8028 | -65.2525 |  | Wind | 50 | 2028 | Tier 2 |  | 2026-07-14 | Completion date assumed | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
NS | Ellerhouse 3 | Ellershouse III | Ellerhouse |  |  |  | Wind | 66 | 2025 | Completed |  | 2026-03-16
NL | Churchill Falls Expansion | [5 empty] | Hydro | 1100 | 2035 | SCENARIO |  | 2026-01-26 | Deal end of april 2026 | https://www.hydroquebec.com/a/infolabrador/
NL | Gull Island | [5 empty] | Hydro | 2250 | 2034 | SCENARIO |  | 2026-01-26 | Deal end of april 2026 | https://www.hydroquebec.com/a/infolabrador/
NS | Bridgewater BESS | Bridgewater |  |  |  |  | Battery Storage | 50 | 2026 | Completed | Completed | 2026-02-02 | Operational as of Jan 30, 2026 | https://www.nspower.ca/about-us/press-releases/details/2026/01/30/nova-scotia-power-s-two-grid-scale-battery-sites-now-operational--supported-by-historic-partnership-and-investment
NS | Waverly BESS | Spider Lake |  |  |  |  | Battery Storage | 50 | 2026 | Completed | Completed | 2026-02-02 | Operational as of Jan 30, 2026 | https://www.nspower.ca/about-us/press-releases/details/2026/01/30/nova-scotia-power-s-two-grid-scale-battery-sites-now-operational--supported-by-historic-partnership-and-investment
NS | Higgins Mountain | Higgins Mountain | Wentworth, Cumberland, Colchester Counties |  |  |  | Wind | 99 | 2026 | TIER 1 |  | 2026-02-02 | Provincial base rate procurement | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_60
NS | Wedgeport |  | Wedgeport |  |  |  | Wind | 80 | 2026 | TIER 1 |  | 2026-02-02 | Provincial base rate procurement | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_60
NS | White Rock BESS | Canaan Rd |  |  |  |  | Battery Storage | 50 | 2026 | TIER 1 | Under construction | 2026-02-02 |  | https://www.nspower.ca/about-us/press-releases/details/2026/01/30/nova-scotia-power-s-two-grid-scale-battery-sites-now-operational--supported-by-historic-partnership-and-investment
NS | Weavers Mountain |  | Beaver Meadow |  |  |  | Wind | 94.4 | 2026 | TIER 1 |  | 2026-02-02 | Provincial base rate procurement | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_60
NS | Mersey River 1 (Renewable to retail) |  | Mersey River |  |  |  | Wind | 90 | 2026 | Tier 1 |  | 2026-03-16 |  | https://cib-bic.ca/en/projects/clean-energy/mersey-river-wind/
NS | Minas Highlands/Benjamins Mill Phase 2 |  | Benjamins Mill |  |  |  | Wind | 13 | 2026 |  |  | 2026-03-16 |  | https://www.naturalforces.ca/projects/minas-highlands-wind-project-benjamins-mill-wind-project-phase-2/
NS | Port Hawksbury/Goose Harbour Lake |  | Guysborough County |  |  |  | Wind | 168 | 2026 |  |  | 2026-03-16 |  | https://www.porthawkesburypaper.com/wind-project.html
PE | Bedeque Solar |  | Bedeque |  |  |  | Solar | 140 | 2026 |  |  | 2026-01-26 |  | https://irac.pe.ca/wp-content/uploads/SCBR-Request-for-the-On-Island-Capacity-for-Security-of-Supply-Project-filed-December-18-2024.pdf
PE | Bedeque Wind |  | Bedeque |  |  |  | Wind | 13 | 2026 | Tier 2/3 | NERC LTRA | 2026-03-16 |  | https://irac.pe.ca/wp-content/uploads/SCBR-Request-for-the-On-Island-Capacity-for-Security-of-Supply-Project-filed-December-18-2024.pdf
PE | Eastern Kings Wind Phase 2 | East Point Eastern Kings II | East Point |  |  |  | Wind | 30 | 2026 | Tier 1 | NERC LTRA | 2026-03-16 |  | https://www.princeedwardisland.ca/en/feature/projects-under-environmental-review-undertakings/#/service/EnvironmentalImpactAssessments/EnvironmentalImpactAssessmentSearch
NB | Paqt'smawei Spiu Wind |  | Between Mechanic Settlement and Donegal | 45.72 | -65.2314 |  | Wind | 105 | 2027 | Tier 1 | NERC LTRA | 2026-02-11 | PPA | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
NB | Brighton Mountain Wind |  | Brighton Mountain | 46.4221 | -67.2476 |  | Wind | 200 | 2027 | Tier 2 | NERC LTRA | 2026-02-11 | PPA? +150 MW for phase 2 | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
NS | Aulds Cove Wind |  | Guysborough County |  |  |  | Wind | 147 | 2027 | Tier 1 | EIA in progress NERC tier 1 | 2026-02-11 | Capacity is upper limit requested in EIA, start construction 2026 Renewable to retail tariff | https://www.naturalforces.ca/projects/aulds-mountain-wind-farm/
NS | Mersey River 2 (Renewable to retail) |  | Mersey River |  |  |  | Wind | 58.5 | 2027 | Tier 1 |  | 2026-03-16 |  | https://cib-bic.ca/en/projects/clean-energy/mersey-river-wind/
NS | Salt Springs Peaker | [5 empty] | Gas CT | 300 | 2027 | Tier 2 | EIA in progress, NERC says tier 2 | 2026-03-16 | Feb 16, 2026 Environmental assessment decision. More likely in 2029? | https://novascotia.ca/nse/ea/fangpgf-salt-springs/
NS | Mashdale Peaker | [5 empty] | Gas CT | 300 | 2027 | Tier 2 | EIA in progress, NERC says tier 2 | 2026-03-16 | Feb 16, 2026 Environmental assessment decision. More likely in 2029? | https://novascotia.ca/nse/ea/fangpgf-marshdale/
PE | Wejipek Wind |  | South of Middleton |  |  |  | Wind | 18 | 2027 |  |  | 2026-01-26 |  | https://www.princeedwardisland.ca/en/feature/projects-under-environmental-review-undertakings/#/service/EnvironmentalImpactAssessments/EnvironmentalImpactAssessmentSearch
NB | Reliability tie | [5 empty] | Transmission |  | 2028 | TIER 1 |  | 2026-01-26 | Salisbury to Memramcook, NB-NS 345kV | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
NB | Papoqi'ig Wind |  | Caribou Depot | 47.5676 | -66.2638 |  | Wind | 63 | 2028 | Tier 1 | EIA in progress, NERC says 62 MW of wind is TIER 1 | 2026-02-11 | PPA signed | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
NB | Tantramar Natural Gas |  |  | 46.0385 | -64.2663 |  | Gas (peak) | 500 | 2028 | Tier 1 | NERC says TIER 1, but 400 MW | 2026-02-11 | EIA in progress, 500 MW capacity but 100 MW reserved for NS | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
NB | Astuwicuwon Wind |  | Kenneth | 46.5835 | -67.4164 |  | Wind | 92 | 2028 | Tier 1 | PPA signed | 2026-03-18 | This capacity doesn't seem to be included in NERC LTRA | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
NS | Eigg Mountain Wind (Green Choice Project) |  | Connors Mountain Rd, Antigonish County |  |  |  | Wind | 150 | 2028 | Tier 1/2 | 10 year system outlook | 2026-03-16 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_60
NS | Sugar Maple Wind (Green Choice Project) |  | Between beaver mountain provincial park and eden lake |  |  |  | Wind | 112 | 2028 | Tier 1/2 | 10 year system outlook | 2026-03-16 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_60
NS | Coal to NG | [5 empty] | Gas? | 150 | 2028 | Tier 2 | NERC LTRA | 2026-02-11 | Haven't seen mention outside of 2025 NERC LTRA
PE | On-Island Supply - Battery | [5 empty] | Battery Storage | 10 | 2028 | Tier 3 | NERC LTRA | 2026-02-11 |  | https://irac.pe.ca/wp-content/uploads/SCBR-Request-for-the-On-Island-Capacity-for-Security-of-Supply-Project-filed-December-18-2024.pdf
PE | Skinners Pond Wind |  | Skinners Pond |  |  |  | Wind | 99 | 2028 | Tier 2/3 | NERC LTRA | 2026-03-16 |  | https://www.princeedwardisland.ca/en/feature/projects-under-environmental-review-undertakings/#/service/EnvironmentalImpactAssessments/EnvironmentalImpactAssessmentSearch
NS | Lingan Conversion HFO | [5 empty] | Oil | 459 | 2029 | Tier 2 | In IRP, no action, NERC says tier 2 | 2026-02-02 | Converted to heavy fuel oil | https://www.nspower.ca/irp
PE | On-Island Supply - CT | [5 empty] | Diesel (peak) | 50 | 2029 | Tier 3 | NERC LTRA | 2026-02-11 | Converted to gas later | https://irac.pe.ca/wp-content/uploads/SCBR-Request-for-the-On-Island-Capacity-for-Security-of-Supply-Project-filed-December-18-2024.pdf
NB | Belledune Conversion |  |  | 47.9081 | -65.8622 |  | Biomass | 467 | 2030 | Tier 2 | NERC says 72 MW of biomass, NBPower plans to convert entire capacity | 2026-06-18 | 2028-2030 project time, wood pellets | https://www.nbpower.com/en/about-us/projects
NB | ARC SMR | [5 empty] | Nuclear SMR | 100 | 2030 | Tier 3 |  | 2026-01-26 | No updates since july 2023 | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
QC | Phoenegamook-Picard-Saint-Antonin-Wolastokuk | PPAW | Riviere du Loup/Kamouraska/Temiscouata |  |  | PPA | Wind | 349.8 | 2026 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2021-01.html
QC | Madawaska | Madawaska | Temiscouata |  |  | PPA | Wind | 270 | 2026 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2021-01.html
QC | Foret Domaniale | Foret Domaniale | Montmagny (Cap-Saint-Ignace, Montmagny, Notre-Dame-du-Rosaire, Sainte-Apolline-de-Patton) |  |  | PPA | Wind | 180 | 2026 | TIER 1 | PPA | 2026-01-27 | Phase 2, +198 MW? | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2021-02.html
QC | Canton MacNider | St-Damase 2 | La Matapedia (Saint-Noel, Saint-Damase) |  |  | PPA | Wind | 122.32 | 2026 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2021-02.html
QC | Haute-Chaudiere Wind | Haute-ChaudiÃƒÂ¨re | Le Granit |  |  | PPA | Wind | 120 | 2026 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2021-01.html
QC | Mesgi'g Ugju'sn | RiviÃƒÂ¨re-Nouvelle 2 | Avignon |  |  | PPA | Wind | 102.24 | 2026 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2021-01.html
QC | Des Neiges Sud | Des Neiges Sud | La Cote-de-Beaupre |  |  | Lead Contractor | Wind | 400 | 2027 | TIER 1 | Under Construction | 2026-01-27 |  | https://www.parcseoliensseigneuriedebeaupre.com/desneiges
QC | Saint-Paul-de-Montiminy |  | Montmagny (Notre-Dame-du-Rosaire, Saint-Paul-de-Montminy, Montmagny) |  |  | PPA | Wind | 196 | 2027 | TIER 1 | PPA | 2026-01-27 | 2028 Completion? | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2023-01.html
QC | Monnoir |  | Le Haut-Richelieu/Rouville (Saint-Brigide-d'Iberville, Sainte-Angele-de-Monnoir, Saint-Cesaire) |  |  | PPA | Wind | 100 | 2027 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2023-01.html
QC | Des Neiges Charlevoix |  | Charlevoix |  |  | Lead Contractor | Wind | 400 | 2028 | TIER 1 | Clearing work Started | 2026-01-27 |  | https://www.parcseoliensseigneuriedebeaupre.com/desneiges
QC | Appalaches-Maine Intertie | [5 empty] | Transmission | 1200 | 2025 | TIER 1 |  | 2026-01-27
QC | Hertel-New York Intertie | [5 empty] | Transmission | 1250 | 2026 | TIER 1 |  | 2026-01-27
QC | HQ Production |  |  |  |  | PPA | Mix | 159 | 2026 | TIER 1 |  | 2026-01-27 | Incremental upgrades across HQ assets, model as flexible capacity? E2020 assumes wind… | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2021-01.html
QC | Les Jardins |  | Les Jardins-de-Napierville (Saint-Patrice-de-Sherrington, Saint-Edouard, Saint-Michel, Hemmingford) |  |  | PPA | Wind | 147 | 2028 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2023-01.html
QC | Lotbiniere Ndakina |  | Lotbiniere |  |  | PPA | Wind | 100 | 2028 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2023-01.html
QC | Peshu Napeu |  | Manicougan (Nitassinan de Pessamit) |  |  | PPA | Wind | 300 | 2029 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2023-01.html
QC | Pohenegamook-Picard-Satint-Antonin-Wolastokuk 2 |  | Riviere du Loup/Kamouraska/Temiscouata |  |  | PPA | Wind | 291 | 2029 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2023-01.html
QC | Arthabaska |  | Arthabaska (Sainte-Seraphine, Sainte-Elizabeth-de-Warwick, Victoriaville) |  |  | PPA | Wind | 265.2 | 2029 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2023-01.html
QC | Broughton |  | Les Appalaches (Sacre-Coeur-de-Jesus, Saint-Pierre-de-Broughton, Thetford Mines) |  |  | PPA | Wind | 150 | 2029 | TIER 1 | PPA | 2026-01-27 |  | https://www.hydroquebec.com/achats-electricite-quebec/appels-propositions/2023-01.html
QC | Des Neiges Ouest |  | La Cote-de-Beaupre |  |  | Lead Contractor | Wind | 400 | 2028 | TIER 1 | EIA in progress, NERC says TIER 1 | 2026-02-11 | NERC Long Term Reliability assessment has this project as TIER 1 | https://www.parcseoliensseigneuriedebeaupre.com/desneiges
QC | Call for solar power 2029 | [5 empty] | Solar | 300 | 2029 |  |  | 2026-01-27 | Submissions due april 2026, decision september 2026?
QC | Pumped Hydro Project | [5 empty] | Pumped Storage | 1000 |  |  |  | 2026-01-27
QC | Becancour Conversion |  | Becancour |  |  |  | Gas | 350 |  |  |  | 2026-01-27 | Not sure on capacity
QC | Chamouchouane zone | [5 empty] | Wind | 3000 |  |  |  | 2026-01-27 | Study area, not specific projects | https://www.collectiveenergy.ca/wind-power/parc-eolien-utshishkau/
QC | Wocawson zone | [5 empty] | Wind | 1000 |  |  |  | 2026-01-27 | Study area, not specific projects | https://www.collectiveenergy.ca/wind-power/wocawson/
QC | Nutinamu-Chauvin zone | [5 empty] | Wind | 1000 |  |  |  | 2026-01-27 | Study area, not specific projects | https://www.collectiveenergy.ca/wind-power/nutinamu-chauvin/
NL | Bay D'Espoir Unit 8 |  |  | 47.9901 | -55.7997 |  | Hydro | 150 | 2031 |  | Tier 1 | 2026-07-10 |  | https://nlhydro.com/about-us/our-electricity-system/major-projects/
NL | Avalon CT |  |  | 47.4531 | -53.0977 |  | Gas_CT | 150 | 2030 |  | Tier 1 | 2026-07-10 |  | https://nlhydro.com/about-us/our-electricity-system/major-projects/
NB | Salmon River Wind |  | South of Hammondvale | 45.5475 | -65.5089 |  | Wind | 200 | 2030 | Tier 1 | PPA signed | 2026-02-11 |  | https://www2.gnb.ca/content/gnb/en/departments/elg/environment/content/environmental_impactassessment/registrations.html
PE | On-Island Supply - RICE | [5 empty] | Diesel (RICE) | 90 | 2030 | Tier 3 | NERC LTRA | 2026-02-11 | Converted to gas later | https://irac.pe.ca/wp-content/uploads/SCBR-Request-for-the-On-Island-Capacity-for-Security-of-Supply-Project-filed-December-18-2024.pdf
NB | Mactaquac Life Achievement | [5 empty] | Hydro |  | 2039 | Tier 1 |  | 2026-01-26 | 2025 to 2036/2039 1 unit out of service at a time | https://www.nbpower.com/en/about-us/projects
NS | IPP solar | [5 empty] | Solar | 100 | 2026-2029 | Tier 2 | NERC LTRA | 2026-02-11 | Haven't seen mention outside of 2025 NERC LTRA
NS | Batteries | [5 empty] | Battery Storage | 250 | 2027-2029 | Tier 2 | NERC LTRA | 2026-02-11 | Haven't seen mention outside of 2025 NERC LTRA
NS | Wind procurement | [5 empty] | Wind | 1400 | 2029-2034 | Tier 1/2 | 10 year system outlook | 2026-03-16 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_60
PE | Charlottetown Solar |  | Charlottetown |  |  |  | Solar | 32 | TBD |  |  | 2026-01-26 |  | https://irac.pe.ca/wp-content/uploads/SCBR-Request-for-the-On-Island-Capacity-for-Security-of-Supply-Project-filed-December-18-2024.pdf
PE | Mount Pleasant | [5 empty] | Solar | 32 | TBD |  |  | 2026-01-26 |  | https://irac.pe.ca/wp-content/uploads/SCBR-Request-for-the-On-Island-Capacity-for-Security-of-Supply-Project-filed-December-18-2024.pdf
NB | Battery Storage Request | [5 empty] | Battery Storage | 50 |  | Tier 3 |  | 2026-01-26 | 4hr battery | https://www.nbpower.com/en/about-us/news-media-centre/news/2025/nb-power-invites-expressions-of-interest-for-15-year-battery-storage-partnership/
NB | Grandview PPA |  |  |  |  | PPA Expire | Gas | -95 | 2025 |  |  | 2026-06-18 | PPA expires but capacity still exists, still include in model? | https://www.nbpower.com/media/1492536/2023_irp.pdf
NB | Bayside | Bayside |  |  |  | Retirement | Gas | -285 | 2038 |  |  | 2026-06-18 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NB | Coleson Cove Unit 1 | Coleson Cove_01 |  |  |  | Retirement | Oil | -324 | 2041 |  |  | 2026-06-18 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
PE | Combustion Turbine #1 Borden | Combustion Turbine #1 Borden |  |  |  | Retirement | Diesel | -15 | 2031 |  |  | 2026-06-18 |  | https://www.maritimeelectric.com/media/j02ba1vx/scbr-request-for-the-on-island-capacity-for-security-of-supply-project-filed-december-18-2024.pdf
PE | Combustion Turbine #2 Borden | Combustion Turbine #2 Borden |  |  |  | Retirement | Diesel | -25 | 2033 |  |  | 2026-06-18 |  | https://www.maritimeelectric.com/media/j02ba1vx/scbr-request-for-the-on-island-capacity-for-security-of-supply-project-filed-december-18-2024.pdf
PE | Combustion Turbine #3 Borden | Combustion Turbine #3 |  |  |  | Retirement | Diesel | -49 | 2055 |  |  | 2026-06-18 |  | https://www.maritimeelectric.com/media/j02ba1vx/scbr-request-for-the-on-island-capacity-for-security-of-supply-project-filed-december-18-2024.pdf
NB | Grand Manan | Grand Manan |  |  |  | Retirement | Diesel | -26 | 2026 |  |  | 2026-06-18 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NS | Lingan 1 | Lingan_01 |  |  |  | Retirement | Coal | -150 | 2030 |  |  | 2026-06-18 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_66
NS | Lingan 2 | Lingan_02 |  |  |  | Retirement | Coal | -148 | 2028 |  |  | 2026-06-18 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_66
NS | Lingan 3 | Lingan_03 |  |  |  | Retirement | Coal | -150 | 2030 |  |  | 2026-06-18 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_66
NS | Lingan 4 | Lingan_04 |  |  |  | Retirement | Coal | -159 | 2030 |  |  | 2026-06-18 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_66
NS | Point Aconi | Point Aconi Coal |  |  |  | Retirement | Coal | -168 | 2030 |  |  | 2026-06-18 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_66
NB | Point Lepreau | Point Lepreau Nuclear |  |  |  | Retirement | Nuclear | -660 | 2045 |  |  | 2026-06-18 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NS | Point Tupper 2 | Point Tupper Coal |  |  |  | Retirement | Coal | -150 | 2029 |  |  | 2026-06-18 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_66
NB | Ste. Rose | Ste Rose |  |  |  | Retirement | Diesel | -99 | 2031 |  |  | 2026-06-18 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NS | Trenton 5 | Trenton_05 |  |  |  | Retirement | Coal | -150 | 2028 |  |  | 2026-06-18 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_66
NS | Trenton 6 | Trenton_06 |  |  |  | Retirement | Coal | -154 | 2030 |  |  | 2026-06-18 |  | https://www.nspower.ca/docs/default-source/monthly-reports/10-year-system-outlook-report.pdf?sfvrsn=d39bca29_66
NL | Churchill Falls Upgrade | [5 empty] | Hydro | 550 | 2035 | SCENARIO |  | 2026-07-06 |  | https://www.hydroquebec.com/a/infolabrador/
NB | Belledune Coal Retirement | Belledune |  |  |  | Retirement | Coal | -467 | 2030 |  |  | 2026-07-06 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NB | Coleson Cove Unit 2 | Coleson Cove_02 |  |  |  | Retirement | Oil | -324 | 2041 |  |  | 2026-07-06 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NB | Coleson Cove Unit 3 | Coleson Cove_03 |  |  |  | Retirement | Oil | -324 | 2041 |  |  | 2026-07-06 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NB | Millbank Unit 1 | Millbank_01 |  |  |  | Retirement | Diesel | -99 | 2031 |  |  | 2026-07-06 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NB | Millbank Unit 2 | Millbank_02 |  |  |  | Retirement | Diesel | -99 | 2031 |  |  | 2026-07-06 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NB | Millbank Unit 3 | Millbank_03 |  |  |  | Retirement | Diesel | -99 | 2031 |  |  | 2026-07-06 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
NB | Millbank Unit 4 | Millbank_04 |  |  |  | Retirement | Diesel | -99 | 2031 |  |  | 2026-07-06 |  | https://www.nbpower.com/media/1492536/2023_irp.pdf
ON | 903 | 903 | Burks Falls |  |  | New Capacity | Battery Storage | 4.74 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 20 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Almonte BESS | Almonte BESS | Almonte |  |  | New Capacity | Battery Storage | 4.749 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 20 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Almonte BESS 2 |  | Almonte |  |  | New Capacity | Battery Storage | 9.49 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 40 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Arlen Energy Storage 1 | Arlen Energy Storage 1 | Guelph |  |  | New Capacity | Battery Storage | 19 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 80 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Eagle Lake Power Reserve |  | Oxdrift |  |  | New Capacity | Battery Storage | 190 | 2030 | Tier 2 | LT2(c-1) RFP - Initial Results | 2026-07-06 | 1,600 MWh (8hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Edgeware Battery Storage Project |  | St. Thomas |  |  | New Capacity | Battery Storage | 71.25 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 300 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Elora BESS |  | Elora |  |  | New Capacity | Battery Storage | 200 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 800 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Goreway BESS | Gorway BESS | Brampton |  |  | New Capacity | Battery Storage | 47.5 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 200 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Hagersville Battery Energy Storage Park | Hagersville Battery Energy Storage ParkÃ‚Â | Hagersville |  |  | New Capacity | Battery Storage | 285 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 1,200 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Hedley BESS |  | Jarvis |  |  | New Capacity | Battery Storage | 200 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 800 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Napanee Battery Energy Storage System Phase 2 |  | Bath |  |  | New Capacity | Battery Storage | 300 | 2030 | Tier 2 | LT2(c-1) RFP - Initial Results | 2026-07-06 | 2,400 MWh (8hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Napanee Energy Storage | Napanee Energy Storage | Belmont |  |  | New Capacity | Battery Storage | 250 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 1,000 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | North Glengarry BESS |  | Dunvegan |  |  | New Capacity | Battery Storage | 15.48 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 60 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Oxford Battery Energy Storage Project |  | Woodstock |  |  | New Capacity | Battery Storage | 118 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 500 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | OZ-1 | OZ-1 | Chesley |  |  | New Capacity | Battery Storage | 4.74 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 20 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | SFF 06 | SFF 06 | Grafton |  |  | New Capacity | Battery Storage | 4.74 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 20 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Simcoe Battery Project |  | Simcoe |  |  | New Capacity | Battery Storage | 150 | 2030 | Tier 2 | LT2(c-1) RFP - Initial Results | 2026-07-06 | 1,200 MWh (8hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Skyview 2 Battery Energy Storage Project |  | Spencerville |  |  | New Capacity | Battery Storage | 390 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 1,560 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | South March BESS |  | Dunrobin |  |  | New Capacity | Battery Storage | 250 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 1,000 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Tara BESS |  | Arran-Elderslie |  |  | New Capacity | Battery Storage | 380 | 2027 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 1,600 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Tilbury Battery Storage | Tilbury Battery Storage | Tilbury |  |  | New Capacity | Battery Storage | 76 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 320 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Trail Road BESS |  | Kars |  |  | New Capacity | Battery Storage | 150 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 | 600 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Vaughan 1E Energy Storage 1 | Vaughan 1E Energy Storage 1 | Concord |  |  | New Capacity | Battery Storage | 19 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 80 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Vaughan 3 Energy Storage 1 | Vaughan 3 Energy Storage 1 | Woodbridge |  |  | New Capacity | Battery Storage | 38 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 160 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Walker BESS 4 | Walker BESS 4 | Windsor |  |  | New Capacity | Battery Storage | 4.749 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 20 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Walker BESS 5 | Walker BESS 5 | Windsor |  |  | New Capacity | Battery Storage | 4.749 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 20 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Walker BESS 6 | Walker BESS 6 | Windsor |  |  | New Capacity | Battery Storage | 4.749 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 20 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | York BESS | York BESS | Monetville |  |  | New Capacity | Battery Storage | 114 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 | 480 MWh (4hr) | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Goreway Station |  | Brampton |  |  |  | Natural Gas | 879.51 | 2027 | Tier 1 | Same technology upgrades | 2026-07-06 | IN CODERS | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Bolton Manor Rural Power Resiliency Project |  | Thamesford |  |  | New Capacity | Biogas | 0.95 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Greenfield Energy Centre |  | Courtright |  |  |  | Natural Gas | 1040 | 2027 | Tier 1 | Same technology upgrades | 2026-07-06 | IN CODERS | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Calstock GS | Calstock | Hearst |  |  | Recontract | Biomass | 24 | 2027 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Halton Hills Generating Station |  | Halton Hills |  |  |  | Natural Gas | 673 | 2027 | Tier 1 | Same technology upgrades | 2026-07-06 | IN CODERS | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Britannia Facility |  | Mississauga |  |  | Recontract | Landfill Gas | 1.82 | 2027 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Trail Road Landfill GS | Trail Road | Ottawa |  |  | Recontract | Landfill Gas | 6 | 2027 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Lennox Generating Station | Lennox_01-04 | Greater Napanee |  |  | Recontract | Natural Gas | 1621.09 | 2029 | Tier 1 | MT2(c) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Napanee Generating Station Expansion |  | Belmont |  |  | Upgrade | Natural Gas | 405 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Hydrogen Ready Power Plant | Hydrogen Ready Power Plant | Courtright |  |  | New Capacity | Natural Gas | 195 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Kingston Cogen CGS |  | Loyalist Township |  |  | Recontract | Natural Gas | 104.45 | 2026 | Tier 1 | MT2(c) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Northland Iroquiois Falls CGS |  | Iroquois Falls |  |  | Recontract | Natural Gas | 98.03 | 2026 | Tier 1 | MT2(c) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Greater Toronto Airports Authority |  | Mississauga |  |  | Recontract | Natural Gas | 89.01 | 2029 | Tier 1 | MT2(c) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | North Bay GS |  | North Bay |  |  | Recontract | Natural Gas | 33.04 | 2026 | Tier 1 | MT2(c) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Kapuskasing GS |  | Kapuskasing |  |  | Recontract | Natural Gas | 25 | 2026 | Tier 1 | MT2(c) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Nipigon GS | Nipigon | Nipigon |  |  | Recontract | Natural Gas | 22.5 | 2026 | Tier 1 | MT2(c) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | London District Energy | London District Energy | London |  |  | Recontract | Natural Gas | 13.02 | 2029 | Tier 1 | MT2(c) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Walker Dairy Rural Power Resiliency |  | Aylmer |  |  | New Capacity | Natural Gas | 4.74 | 2028 | Tier 1 | LT1 RFP Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | East Windsor Expansion | East Windsor_03 | Windsor |  |  | Upgrade | Natural Gas SC | 100 | 2026 | Tier 1 | E-LT1 RDP Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Darlington SMR Unit 1 |  | Darlington |  |  | New Capacity | SMR | 300 | 2029 | Tier 1 |  | 2026-07-06
ON | Dunns Valley Solar |  | Searchmont |  |  | New Capacity | Solar | 200 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | CarbonFree Fort Frances |  | Fort Frances |  |  | New Capacity | Solar | 167.2 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | CarbonFree Kynoch |  | Iron Bridge |  |  | New Capacity | Solar | 154 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Massey Solar |  | Massey |  |  | New Capacity | Solar | 141.25 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | CarbonFree Rainy River |  | Barwick |  |  | New Capacity | Solar | 60 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Fort Frances Solar |  | Fort Frances |  |  | New Capacity | Solar | 57.2 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Paradis Bay Solar |  | North Cobalt |  |  | New Capacity | Solar | 50 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Timmins Mountjoy Solar Project |  | Timmins |  |  | New Capacity | Solar | 23.94 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Portlands Energy Centre |  | Toronto |  |  |  | Natural Gas | 600 | 2027 | Tier 1 | Same technology upgrades | 2026-07-06 | IN CODERS | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Elmbrook Agrivoltaics |  | Picton |  |  | New Capacity | Solar | 19.2 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Cedar Agrivoltaics |  | Hanover |  |  | New Capacity | Solar | 17.6 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Chatsworth Solar Project |  | Chatsworth |  |  | New Capacity | Solar | 15.75 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Golden Leaf Agrivoltaics |  | Perth |  |  | New Capacity | Solar | 9 | 2030 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Wolfe Island Wind | Wolfe Island | Frontenac Islands |  |  | Recontract | Wind | 197.8 | 2029 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Melancthon II |  | Melancthon |  |  | Recontract | Wind | 132 | 2029 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Erie Shores Wind Farm |  | Bayham |  |  | Recontract | Wind | 99 | 2026 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Prince I Wind Project | Prince | Prince |  |  | Recontract | Wind | 99 | 2027 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | St. Clair Energy Centre |  | Corunna |  |  |  | Natural Gas | 645.5 | 2027 | Tier 1 | Same technology upgrades | 2026-07-06 | IN CODERS | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Prince II Wind Project | Prince | Prince |  |  | Recontract | Wind | 90 | 2029 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Thorold Cogeneration Project |  | St. Catharines |  |  |  | Natural Gas | 264.6 | 2027 | Tier 1 | Same technology upgrades | 2026-07-06 | IN CODERS | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
ON | Melancthon I |  | Melancthon |  |  | Recontract | Wind | 67.5 | 2026 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Northern Breeze Wind Project |  | Thunder Bay |  |  | New Capacity | Wind | 200 | 2029 | Tier 1 | LT2(e-1) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-2-RFP
ON | Port Alma I | Port Alma | Chatham-Kent |  |  | Recontract | Wind | 101.2 | 2029 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Clear Creek II Wind Farm |  | Norfolk County |  |  | Recontract | Wind | 9.9 | 2029 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Cultus Wind Farm |  | Norfolk County |  |  | Recontract | Wind | 9.9 | 2028 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Frogmore Wind Farm |  | Norfolk County |  |  | Recontract | Wind | 9.9 | 2028 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Mohawk Point Wind Farm |  | Haldimand County |  |  | Recontract | Wind | 9.9 | 2029 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Ripley Wind Power Project | Ripley | Huron-Kinloss |  |  | Recontract | Wind | 76 | 2028 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Kingsbridge Wind Power Project | Kingsbridge 1 | Ashfield-Colborne-Wawanosh |  |  | Recontract | Wind | 37.8 | 2026 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Cruickshank Wind Farm | Cruickshank | Kincardine |  |  | Recontract | Wind | 8.25 | 2029 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Ferndale Wind Farm |  | Northern Bruce Peninsula |  |  | Recontract | Wind | 5.1 | 2027 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | Ravenswood Wind Farm |  | Lambton Shores |  |  | Recontract | Wind | 9.9 | 2028 | Tier 1 | MT2(e) RFP - Final Results | 2026-07-06 |  | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Medium-Term-RFP
ON | York Energy Centre |  | Monetville |  |  |  | Natural Gas | 431 | 2027 | Tier 1 | Same technology upgrades | 2026-07-06 | IN CODERS | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Long-Term-RFP-and-Expedited-Process
AB | P2924 Three Hills 770S DER Battery |  | 42-Hanna | 51.707 | -113.2648 | BTF | Battery Storage | 10.1 | 2027 | Tier 1 | Stage 5 | 2026-01-26 | 10.1 MW battery not from connection queue | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2925 Michichi Creek 802S DER Battery |  | 42-Hanna | 51.5029 | -112.7046 | BTF | Battery Storage | 11 | 2027 | Tier 1 | Stage 5 | 2026-01-26 | 11 MW battery not from connection queue | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2944 Mowat 2033S DER Gas |  | 20-Grande Prairie |  |  | BTF | Gas | 19 | 2027 | Tier 2 | Stage 3 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P2997 Three Hills 770S DER Solar |  | 42-Hanna |  |  | BTF | Solar | 18 | 2027 | Tier 2 | Stage 3 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P3013 Raymond Reservoir Battery |  | 55-Glenwood |  |  | BTF | Battery Storage | 8 | 2028 | Tier 2 | Stage 3 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P3026 Pigeon Lake 964S DER Solar |  | 31-Wetaskiwin |  |  | BTF | Solar | 15 | 2026 | Tier 2 | Stage 3 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P3029 Irrican Chin Battery |  | 54-Lethbridge |  |  | BTF | Battery Storage | 7 | 2028 | Tier 2 | Stage 3 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P3031 Oyen Wind Ph 2 |  | 42-Hanna | 51.311 | -110.4914 | BTF | Wind | 216 | 2029 | Tier 2 | Stage 3 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P3039 Evolve Battery |  | 26-Swan Hills |  |  | BTF | Battery Storage | 25 | 2027 | Tier 2 | Stage 3 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
AB | P3056 Onoway 352S DER Gas Battery |  | 40-Wabamun |  |  | BTF | Gas + Storage | 20 | 2027 | Tier 2 | Stage 3 | 2026-07-09 |  | https://www.aeso.ca/grid/transmission-projects/connection-project-reporting/
BC | Yayus Energy |  | Campbell River | 50.0466 | -125.7469 |  | Wind | 197 | 2030 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 | Brewster Wind, assumed 2030 start date | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | Boulder and Ekhart Wind |  | Merritt | 49.902 | -120.3736 |  | Wind | 94 | 2028 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | Highland Valley Wind |  | Logan Lake | 50.5043 | -120.9933 |  | Wind | 197 | 2030 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 | Assumed 2030 start date | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | K2 Wind Project |  | Kelowna | 49.8866 | -120.1676 |  | Wind | 160 | 2031 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | ShTSaQU Solar |  | Logan Lake | 50.5606 | -120.8468 |  | Solar | 104 | 2030 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 | Assumed 2030 start date | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | Mount Mabel Wind |  | Logan Lake | 50.3228 | -120.5754 |  | Wind | 143 | 2030 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 | Assumed 2030 start date | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | Nihts'i Ecoener |  | Prince George | 53.4186 | -122.5565 |  | Wind | 140 | 2031 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | Nithi Mountain Wind |  | Fraser Lake | 53.9765 | -124.8532 |  | Wind | 200 | 2029 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | Stewart Creek Wind |  | Fort St. John | 55.9617 | -121.0789 |  | Wind | 200 | 2030 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | Taylor Wind |  | Taylor | 56.0415 | -120.8542 |  | Wind | 200 | 2031 | Tier 1 | 2024 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2024-call-for-power/participants.html
BC | Bessie Wind |  | Dawson Creek | 55.9209 | -120.3494 |  | Wind | 251 | 2032 | Tier 1 | 2025 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2025-call-for-power/participants.html
BC | Nicola Wind |  | West Kelowna | 49.9557 | -119.9521 |  | Wind | 496 | 2032 | Tier 1 | 2025 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2025-call-for-power/participants.html
BC | Sweetwater Wind |  | Dawson Creek | 56.0027 | -120.481 |  | Wind | 210 | 2033 | Tier 1 | 2025 Call for Power EPA winner | 2026-07-10 | Assumed 2033 start date | https://www.bchydro.com/work-with-us/selling-clean-energy/2025-call-for-power/participants.html
BC | Taylor South Wind |  | Taylor | 55.9631 | -121.1037 |  | Wind | 201 | 2032 | Tier 1 | 2025 Call for Power EPA winner | 2026-07-10 |  | https://www.bchydro.com/work-with-us/selling-clean-energy/2025-call-for-power/participants.html
BC | Revelstoke Unit 6 |  | Revelstoke | 51.0486 | -118.1939 |  | Hydro | 500 | 2032 | Tier 1 | Powering Growth Plan | 2026-07-10 |  | https://www.bchydro.com/toolbar/about/strategies-plans-regulatory/supply-operations/powering-growth.html
BC | GM Shrum modernization |  | Hudson's Hope | 56.0147 | -122.1957 |  | Hydro | 100 |  | Tier 1 |  | 2026-07-10 | Units 1-5 refurbished | https://www.bchydro.com/toolbar/about/strategies-plans-regulatory/supply-operations/powering-growth.html
BC | Site E |  | Peace River |  |  |  | Hydro | 750 |  | Scenario | Powering Growth Plan | 2026-07-10 |  | https://www.bchydro.com/toolbar/about/strategies-plans-regulatory/supply-operations/powering-growth.html
BC | Homathko |  | Bute Inlet |  |  |  | Hydro | 500-900 |  | Scenario | Powering Growth Plan | 2026-07-10 |  | https://www.bchydro.com/toolbar/about/strategies-plans-regulatory/supply-operations/powering-growth.html
BC | Hydro optimization |  | Various |  |  | Upgrade | Hydro | 400 |  | Tier 1 | Powering Growth Plan | 2026-07-10 | Revelstoke 1-4, Mica 1-4, Seven Mile, Falls River, Clowhorn, Wahleach, Kootenay Canal, and Seton | https://www.bchydro.com/toolbar/about/strategies-plans-regulatory/supply-operations/powering-growth.html
SK | SMR | [5 empty] | SMR | 300 | 2040 | Tier 3 |  | 2026-07-10
SK | Boundary Dam 3 Life Extension |  | Estevan | 49.096 | -103.0305 | Refurbishment | Coal CCS | 139 | 2034 | Tier 1 | Coal Life Extension Project | 2026-07-10 | Out of service 2032-2034 | https://www.saskpower.com/our-power-future/infrastructure-projects/construction-projects/planning-and-construction-projects/coal-life-extension-project/boundary-dam-power-station-life-extension
SK | Boundary Dam 4 Life Extension |  | Estevan | 49.096 | -103.0305 | Refurbishment | Coal | 139 | 2036 | Tier 1 | Coal Life Extension Project | 2026-07-10 | OOS 2034-2036 | https://www.saskpower.com/our-power-future/infrastructure-projects/construction-projects/planning-and-construction-projects/coal-life-extension-project/boundary-dam-power-station-life-extension
SK | Boundary Dam 5 Life Extension Phase 1 |  | Estevan | 49.096 | -103.0305 | Refurbishment | Coal | 139 | 2028 | Tier 1 | Coal Life Extension Project | 2026-07-10 | OOS 2026-2028 | https://www.saskpower.com/our-power-future/infrastructure-projects/construction-projects/planning-and-construction-projects/coal-life-extension-project/boundary-dam-power-station-life-extension
SK | Boundary Dam 5 Life Extension Phase 2 |  | Estevan | 49.096 | -103.0305 | Refurbishment | Coal | 139 | 2036 | Tier 1 | Coal Life Extension Project | 2026-07-10 | OOS 2034-2036 | https://www.saskpower.com/our-power-future/infrastructure-projects/construction-projects/planning-and-construction-projects/coal-life-extension-project/boundary-dam-power-station-life-extension
SK | Boundary Dam 6 Life Extension |  | Estevan | 49.096 | -103.0305 | Refurbishment | Coal | 284 | 2030 | Tier 1 | Coal Life Extension Project | 2026-07-10 | OOS 2028-2030 | https://www.saskpower.com/our-power-future/infrastructure-projects/construction-projects/planning-and-construction-projects/coal-life-extension-project/boundary-dam-power-station-life-extension
SK | Shand Life Extension |  | Estevan | 49.0883 | -102.8642 | Refurbishment | Coal | 276 | 2032 | Tier 1 | Coal Life Extension Project | 2026-07-10 | OOS 2030-2032 | https://www.saskpower.com/our-power-future/infrastructure-projects/construction-projects/planning-and-construction-projects/coal-life-extension-project/shand-power-station-life-extension
SK | Poplar River 1 Life Extension |  | Coronach | 49.0579 | -105.4848 | Refurbishment | Coal | 291 | 2033 | Tier 1 | Coal Life Extension Project | 2026-07-10 | OOS 2031-2033 | https://www.saskpower.com/our-power-future/infrastructure-projects/construction-projects/planning-and-construction-projects/coal-life-extension-project/poplar-river-power-station-life-extension
SK | Poplar River 2 Life Extension |  | Coronach | 49.0579 | -105.4848 | Refurbishment | Coal | 291 | 2031 | Tier 1 | Coal Life Extension Project | 2026-07-10 | OOS 2029-2031 | https://www.saskpower.com/our-power-future/infrastructure-projects/construction-projects/planning-and-construction-projects/coal-life-extension-project/poplar-river-power-station-life-extension
MB | Call for Wind |  | Various |  |  |  | Wind | 600 |  | Tier 3 |  | 2026-07-10 | No specific projects selected until spring 2027 | https://www.hydro.mb.ca/corporate/call-for-wind-power/
MB | Brandon Additional Turbines |  | Brandon | 49.8456 | -99.8901 |  | Gas CT | 750 | 2030 | Tier 1 |  | 2026-07-10 |  | https://www.hydro.mb.ca/engage/brandon-dispatchable-capacity/
NB | Saint John's Westside Mill |  |  | 45.2589 | -66.0945 |  | Biomass | 145 | 2028 | Tier 1 |  | 2026-07-14 |  | https://nextgennb.com/
NB | Cookville Solar |  |  | 46.0224 | -64.4923 |  | Solar | 150 | 2029 | Tier 2 |  | 2026-07-14 |  | http://cookvillesolar.com/
NL | Holyrood_01 | Holyrood_01 |  |  |  | Retirement | Oil | -170 | 2030 |  |  | 2026-07-14 | Retirement not confirmed, but mentioned in planning document | http://www.pub.nf.ca/applications/NLH2018ReliabilityAdequacy/reports/From%20NLH%20-%20%202025%20Near-Term%20Reliability%20Annual%20Report%20-%20%202025-11-20.PDF
NL | Holyrood_02 | Holyrood_02 |  |  |  | Retirement | Oil | -170 | 2030 |  |  | 2026-07-14 | Retirement not confirmed, but mentioned in planning document | http://www.pub.nf.ca/applications/NLH2018ReliabilityAdequacy/reports/From%20NLH%20-%20%202025%20Near-Term%20Reliability%20Annual%20Report%20-%20%202025-11-20.PDF
NL | Holyrood_03 | Holyrood_03 |  |  |  | Retirement | Oil | -150 | 2030 |  |  | 2026-07-14 | Retirement not confirmed, but mentioned in planning document | http://www.pub.nf.ca/applications/NLH2018ReliabilityAdequacy/reports/From%20NLH%20-%20%202025%20Near-Term%20Reliability%20Annual%20Report%20-%20%202025-11-20.PDF
NL | Hardwoods | Hardwoods |  |  |  | Retirement | Gasoline | 50 | 2030 |  |  | 2026-07-14 | Retirement not confirmed, but mentioned in planning document | http://www.pub.nf.ca/applications/NLH2018ReliabilityAdequacy/reports/From%20NLH%20-%20%202025%20Near-Term%20Reliability%20Annual%20Report%20-%20%202025-11-20.PDF
NL | Stephenville | Stephenville |  |  |  | Retirement | Gasoline | 50 | 2030 |  |  | 2026-07-14 | Retirement not confirmed, but mentioned in planning document | http://www.pub.nf.ca/applications/NLH2018ReliabilityAdequacy/reports/From%20NLH%20-%20%202025%20Near-Term%20Reliability%20Annual%20Report%20-%20%202025-11-20.PDF
SK | Aspen Power Station |  |  |  |  | New Capacity | Gas | 370 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | Rose Valley Wind |  |  |  |  | New Capacity | Wind | 200 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | Seven Stars Wind |  |  |  |  | New Capacity | Wind | 200 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | Southern Springs Solar |  |  |  |  | New Capacity | Solar | 100 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | Iyuhana Solar |  |  |  |  | New Capacity | Solar | 100 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | Coleville Gas |  |  |  |  | New Capacity | Gas | 27 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | North Portal Gas |  |  |  |  | New Capacity | Gas | 27 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | SEEP Gas |  |  |  |  | New Capacity | Gas | 25 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | Steelman Gas |  |  |  |  | New Capacity | Gas | 23 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | Viewfield Gas |  |  |  |  | New Capacity | Gas | 23 | 2028 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf
SK | Flying Dust Gas |  |  |  |  | New Capacity | Gas | 20 | 2029 | Tier 1 | Saskpower annual report | 2026-09-24 |  | https://www.saskpower.com/-/media/saskpower/about-us/reports/report-annualreport-2025-26.pdf